## 810 ADS
810 Application Data Sheet (Required with order) |  |  |  |  | Select One | Select | Select | Select One | Select | Select One | Select One | Select
For Sierra Use Only | Sales Order Number |  |  |  | 01 ¦ Chemcial | g | day | deg F | atm(STD) | cm | Yes | atm(STD)
| Line Item Number |  |  |  | 02 ¦ Pharmaceutical/Biotech | kg | hr | deg C | bar | ft | No | bar
| Serial Number |  |  |  | 03 ¦ Food & Beverage | lb | min | K | mbar | in |  | mbar
| Sierra Representative |  |  |  | 04 ¦ Primary Metals | scf | sec | Rk | mm H20 | km |  | mm H20
| Equivalent N2 Flow Maximum |  | slpm |  | 05 ¦ Glass/Ceramic | nml |  |  | torr | m |  | torr
| Outside Calibration Required |  | If yes, location |  | 06 ¦ Pulp & Paper | sml |  |  | inch H2O | mm |  | inch H2O
| AE Order Approval/Date |  |  |  | 07 ¦ Utilities | ncc |  |  | inch Hg |  |  | inch Hg
| Checked/Date |  |  |  | 08 ¦ Power/Combustion | scc |  |  | Pa |  |  | Pa
|  | Enter Information Below |  |  | 09 ¦ Discrete Manufacturing | nm3 |  |  | kPa |  |  | kPa
Distributor Information | Purchase Order Number |  |  |  | 10 ¦ Life Sciences/Biotech | sm3 |  |  | lb/ft2 |  |  | lb/ft2
| Distributor/Representative Company |  |  |  | 11 ¦ Laboratory | nl |  |  | psi |  |  | psi
| Distributor Contact Name |  |  |  | 12 ¦ Environmental Services | sl
| Distributor Telephone + Fax Number |  |  |  | 13 ¦ University/Government | sci
| Distributor E-mail address |  |  |  | 14 ¦ Test/QA
19 ¦ OEM
End user Information | Customer Purchase Order Number |  |  |  | 20 ¦ Other
Required information per USA export laws. | Customer Company Name |  |  |  | 21 ¦ Manufacturing
| Customer location (City/Country) |  |  |  | 22 ¦ Electronics
| Contact Name |  |  |  | 23 ¦ Automotive
| Contact Phone # or E-mail address |  |  |  | 27 ¦ Aerospace | Select One |  |  | Select
| Industry |  |  |  | 30 ¦ Water, WaterWaste | Horizontal |  |  | a
[5 empty] | 31 ¦ Medical | Vertical Flow Upward |  |  | g
Product Information | Quantity |  |  |  | 32 ¦ Consulting | Vertical Flow Downward
| Model Number |  |  |  |  | Other
| Output Signal (choose one) |  |  |  | Select One
| Setpoint* (choose one) |  |  |  | 70°F, 1 ATM
0°C, 1 ATM
Accessories | Additional Instruction Manual |  |  |  | 21°C, 760 mm Hg
| Power Supply (choose one) |  |  |  | 0°C, 1013.25 mBara
| O2 Cleaning |  |  |  | Other
| 15 Pin "D" Mating Connector & Cable |  |  | Cable Length (feet only)
Application Information | Gas
| Variables | Minimum | Maximum | Units
Flow
Temperature
Pressure (Inlet)
Pressure (Outlet)
| Standard Conditions |  | For Other Standard Conditions, Enter temperature and pressure below.
Other Standard Conditions
| Flow Orientation | If other: |  | If other:
Yes
No
0-5 VDC
0-10 VDC
4-20mA
Internal
0-5 VDC
0-10 VDC
4-20 mA
None required
110 VAC, 24 VDC output
240 VAC, 24 VDC output
Yes
No