## 640S ADS
QuadraTherm® 640i / 780i Application Data Sheet (required with order) | [5 empty] | Select One | Select One | Select One | Select One | Select One | Select One
For Sierra Use Only | Sales Order Number |  | Serial Number |  |  | Yes | 01 ¦ Chemical | SCFS | deg F | Psia | In
| Line Item Number |  | Sierra Representative |  |  | No | 02 ¦ Pharmaceutical/Biotech | SCFM | deg C | Psig | Ft
| Maximum Velocity |  | sfpm |  |  |  | 05 ¦ Glass/Ceramic | SCFH | K | Bar A | mm
| Outside Calibration Required |  | If yes, location |  |  |  | 06 ¦ Pulp & Paper | SCFD | deg R | Bar G | M
| AE Order Approval/Date |  | Checked Date |  |  |  | 07 ¦ Utilities | SCFY |  | KPa A
[7 empty] | 09 ¦ Discrete Manufacturing |  |  | KPa G
| Enter Information Below | [5 empty] | 10 ¦ Life Sciences/Biotech | NCFS |  | Kg/CM2 A
Distributor Information | Purchase Order Number | [5 empty] | 11 ¦ Laboratory | NCFM |  | Kg/CM2 G
| Sierra Partner Contact Information (name, addresss, phone, and fax) | [5 empty] | 12 ¦ Environmental Services | NCFH |  | In H2O A
[7 empty] | 20 ¦ Other | NCFD |  | In H2O G
| Sierra Partner Email | [5 empty] | 21 ¦ Manufacturing | NCFY |  | MM H2O A
[7 empty] | 22 ¦ Electronics |  |  | MM H2O G
End User Information | Customer Purchase Order Number | [5 empty] | 23 ¦ Automotive | SM3/sec
Required information per USA export laws. | Customer Company Name | [5 empty] | 24 ¦ Analytical/Laboratory | SM3/min
| Customer Location (City/Country) | [5 empty] | 25 ¦ Semiconductor | SM3/hr
| Contact Name | [5 empty] | 32 ¦ Consulting | SM3/day
| Contact Phone # and E-mail address | [5 empty] | 33 ¦ Oil & Gas | SM3/yr
Industry
NM3/sec
Product Information | Quantity | [6 empty] | NM3/min
| Model Number | [6 empty] | NM3/hr
| Tag Number (s) | [6 empty] | NM3/day
[6 empty] | Select One |  | NM3/yr
qTherm Dial-A-Gas | All units come with a standard high accuracy air calibration. Choose three other gases below from our on board qTherm™ Dial-A-Gas Library. Each additional gas can either be actual gas calibration (high accuracy with price adder) or use qTherm Dial-A-Gas accuracies (lower accuracy no charge). Air is standard on the instrument and cannot be removed. Of the below gases, which one are you primarily interested in measuring? |  |  |  |  | 21°C, 1.013 Bar A
[6 empty] | 21°C, 101.325 kPa A |  | SLPS
| Select qTherm Dial-A-Gas | Air (standard) | Actual Gas Cal |  |  | 21°C, 1.033 Kg/CM2 A |  | SLPM
|  | 1 |  | If other, what gas: | None | 21°C, 10332.274 MM H2O A |  | SLPH
|  | 1 |  | If other, what gas: | None | 0°C, 1.013 Bar A |  | SLPD
|  | 1 |  | If other, what gas: | None | 0°C, 101.325 kPa A |  | SLPY
| Note: See datasheet for actual gas and qTherm Dial-A-Gas accuracies. |  |  |  |  | 0°C, 1.033 Kg/CM2 A
[6 empty] | 0°C, 10332.274 MM H2O A |  | NLPS
Process Variables | What is the maximum flow rate of that gas (this is your full scale): |  |  |  |  | 32 14.696 Psi A |  | NLPM
|  | Minimum | Operating | Maximum |  | 32 406.782 In H2O A |  | NLPH
| Temperature |  |  |  |  | 68 14.696 Psi A |  | NLPD
| Pressure |  |  |  |  | 68 406.782 In H2O A |  | NLPY
| Standard Conditions |  | Enter Other Standard Conditions: |  |  | 70 14.696 Psi A
| Note: 4-20 mA outputs will be set at the factory as follows: Flow: 4 mA = 0; 20 mA = full scale. T and P(optional): 4 mA = 0; 20 mA = maximum as provided above. The factory does not set alarms or totalizer pulse outputs. All analog outputs, alarms, and relays set up can be changed in the field |  |  |  |  | 70 406.782 In H2O A |  | Lbs/sec
Lbs/min
Dial-A-Pipe | What Kind of Pipe is It? | [6 empty] | Lbs/hr
| If Circular Pipe, Internal Diameter Width/Height | [6 empty] | Lbs/day
| If Square Duct, Internal Width/Height | [6 empty] | Lbs/yr
| If Rectangular Duct, Internal Width |  | Internal Height
Kg/sec
Kg/min
Kg/hr
Kg/day
Kg/yr
SFPS
SFPM
SFPH
SFPD
SFPY
SMPS
SMPM
SMPH
SMPD
SMPY
Yes
No
Actual Gas
qTherm
Actual Gas
qTherm
Actual Gas
qTherm

## Settings
Gases Pulldown |  | Dial-A-Pipe
| Choose Your Gas | Choose Pipe Type
1 | Argon | PVC
2 | Carbon Dioxide | Glass
3 | Chlorine | ss-UHP
4 | Digester Gas (60/40) | ss-smooth
5 | Helium | ss-normal
6 | Hydrogen | ss-rough
7 | Methane | cs-smooth
8 | Natural Gas | cs-normal
9 | Nitrogen | cs-rough
10 | Oxygen | c-fiber
11 | Propane | cast-iron
12 | Other Actual Gas Cal | concrete